|  | ......................... pcs. .............................. € .............................. € GEZE overhead door closer TS 5000 L, for installation on fire and smoke protection doors, in accordance with EN 115, size 2 - 6, with guide rail BG; closing force, closing speed, back check and latching action are front adjustable, with visual closing force display, door leaf installation on opposite hinge side, with mounting plate Alternative to the guide rail BG: ( ) with T-Stop guide rail BG, with integrated opening restrictor Colour: ( ) silver-coloured ( ) dark bronze ( ) white ( ) stainless steel optic ( ) acc. to RAL |
| --- | --- |