|  | ......................... pcs. .............................. € .............................. € GEZE overhead door closer TS 4000, for installation on fire and smoke protection doors, with infinitely adjustable closing force size 1 – 6 in accordance with EN 1154 A; closing force, closing speed and back check are front adjustable, with visual closing force display, standard installation on door leaf/hinge side, with mounting plate Colour: ( ) silver-coloured ( ) dark bronze ( ) white ( ) stainless steel optic ( ) acc. to RAL |
| --- | --- |
|  | ......................... pcs. .............................. € .............................. € GEZE overhead door closer TS 4000, for installation on fire and smoke protection doors, with infinitely adjustable closing force size 5 – 7 in accordance with EN 1154; closing force, closing speed and back check can be set from the front, with visual closing force display, standard installation on door leaf/hinge side, with mounting plate Colour: ( ) silver-coloured ( ) acc. to RAL |